Cryo - Focused Ion Beam preparation of biological materials for retrieval and examination by cryo - TEM.

E.J.Basgall* and D. Nicastro**

*Nanofabrication Facility, The Pennsylvania State University, 192 MRI Bldg, 203 Innovation Blvd, University Park, PA 16802

**Boulder Laboratory for 3-D EM of Cells, Dept of Molecular, Cellular and Developmental Biology (MCDB), Campus Box 347, University of Colorado, Boulder, CO 80309

Obtaining cryo-sections from frozen-hydrated biological materials for cryo-TEM observation has always been problematic [1].  Generating frozen sections with diamond knives produces knife marks, chatter and crevasses.

High pressure freezing (HPF) has allowed more reproducible near vitrification of frozen biological samples.  Vitreous ice is featureless and does not form the destructive ice crystals found in more conventional freezing techniques such as plunge freezing into a cryogen.  Electron microscopic evaluation of vitreous ice and vitrified biological samples has been reported [2].

.

Recent technology in the form of a focused ion beam column combined with a scanning electron optical column (dual beam FIB) allow for ion beam cross sectioning and imaging in the same tool.  Sections and cylinders can be produced, and lifted out after FIB milling for subsequent TEM analysis [3].   The FIB tool utilizes a liquid metal ion gun to produce an energetic stream of Ga ions.  This stream of heavy ions is focused and used to erode away selected areas of material of a specimen within the sample chamber.

The addition of a cryo-transfer system, preparative chamber and cryo-stage unit permits frozen hydrated materials to be introduced, milled to specifications, observed and finally retrieved for cryo-TEM imaging.  Our intention is to develop cryo-techniques enabling this application.

Test samples of bacteria and yeast slurries were prepared by HPF at the Boulder facility and transferred in a dry cryo-shipper to the PSU Nanofabrication facility for cryo-FIB.  Samples were held under liquid nitrogen at all times up until transferring into the cryo-prep chamber airlock.  Any ice that may have formed from the transfer step through the air was removed by scraping under vacuum with the cooled cryo-knife inside the prep chamber.  Raising the stage temperature allows for some ice sublimation and slight freeze drying of the sample surface.  Using cryo-FIB milling, areas of cells and water are progressively removed until a vertical wall section will remain (fig 1).  Cylinders and square post shapes can also be milled.  An aluminum SEM stub was modified in order to hold the HPM carriers securely during the transfer, milling and retrieval stages.

This technique holds great promise for obtaining cryo-sections for subsequent cryo-TEM analysis.

[1] A.AlAmoudi, D.Studer, .Dubochet, J Structural Biol, 150 (2005) 109-121.

[2] A.W.McDowall, J.j.Chang, et al. J Microsc, 131 (1983) 1-9.

[3] L.A.Gianuzzi, Microsc Today, 12 (2004) 34-35.

Fig 1.  Milling scheme for cryo-FIB on biological material.

Fig. 2 Modified SEM stub with well and HPF carrier holding latch.

Fig 3.  Preliminary cryo-FIB on plunge frozen yeast slurry.